Copyright 2004 (R 11/04) by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

This PRODUCT MASTERSPEC section is licensed by ARCOM (February 2006) for distribution by G-P Gypsum Corporation to intended users.  License is subject to expiration and revocation.  Changes made to MASTERSPEC by G-P Gypsum Corporation are indicated using underline/strikeout text.  Review and accept changes according to project requirements and specifier's practice.  The underline and strikeout portions of the text in this Section are the sole responsibility of G-P Gypsum Corporation.  They are not provided by, endorsed by, or representative of the opinions of ARCOM or The American Institute of Architects.  For more information contact G-P Gypsum Corporation, 55 Park Place NE, 19th Floor, Atlanta, GA 30303.  Phone (800) 225-6119.  Fax (404) 230-7931.  Website:  www.gpgypsum.com.  Email: jkhurst@gapac.com.

SECTION 09250 - GYPSUM BOARD

This Section uses the term "Architect."  Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

- GENERAL

      - RELATED DOCUMENTS

        - Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

      - SUMMARY

        - This Section includes the following:

Adjust list below to suit Project.

          - Interior gypsum board.

          - Exterior gypsum board for ceilings and soffits.

Delete subparagraph below if specified in Division 9 Section "Ceramic Tile."

          - Tile backing panels.

        - Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

          - Division 1 Section "LEED Requirements" for additional LEED requirements that affect gypsum board and related products.

          - Division 5 Section "Cold-Formed Metal Framing" for load-bearing steel framing that supports gypsum board.

          - Division 6 Section "Rough Carpentry" for wood framing and furring that supports gypsum board.

          - Division 6 Section "Sheathing" for gypsum sheathing.

          - Division 7 Section "Building Insulation" for insulation and vapor retarders installed in assemblies that incorporate gypsum board.

          - Division 7 Section "Fire-Resistive Joint Systems" for head-of-wall assemblies that incorporate gypsum board.

          - Division 9 Section "Non-Load-Bearing Steel Framing" for non-structural framing and suspension systems that support gypsum board.

          - Division 9 Section "Gypsum Veneer Plaster" for gypsum base for veneer plaster and for other components of gypsum-veneer-plaster finishes.

          - Division 9 Section "Gypsum Shaft-Wall Assemblies" for metal shaft-wall framing, gypsum shaft liners, and other components of shaft-wall assemblies.

Delete first subparagraph below if tile backing panels are specified in this Section.

          - Division 9 Section "Ceramic Tile" for cementitious backer units installed as substrates for ceramic tile.

          - Division 9 painting Sections for primers applied to gypsum board surfaces.

      - SUBMITTALS

        - Product Data:  For each type of product indicated.

        - Samples:  For the following products:

Retain first subparagraph below if special trim types and profiles are required.  Generally, delete if only standard-type trims are required.

          - Trim Accessories:  Full-size Sample in 12-inch- (300-mm-) long length for each trim accessory indicated.

          - Textured Finishes:  [Manufacturer's standard size] <Insert size> for each textured finish indicated and on same backing indicated for Work.

Retain paragraph below if low-emitting materials are required for LEED Credit EQ 4.1; coordinate with requirements selected in Part 2 for adhesives.

        - LEED Submittals:  For Credit EQ 4.1, manufacturers' product data for adhesives used to laminate gypsum board panels to substrates, including printed statement of VOC content.

      - QUALITY ASSURANCE

Retain paragraph below on projects where accelerated construction scheduling may increase the risk of moisture exposure to assemblies constructed with gypsum panels.

        - Moisture- and Mold-Resistant Assemblies:  Provide and install moisture- and mold-resistant glass-mat gypsum wallboard products with moisture-resistant surfaces complying with ASTM C 630 and ASTM C 1177 where indicated on Drawings and in all locations which might be subject to moisture exposure during construction.

Retain paragraph below where gypsum board is part of fire-resistance-rated assemblies.  Indicate design designations of specific assemblies on Drawings.

        - Fire-Resistance-Rated Assemblies:  For fire-resistance-rated assemblies, provide materials and construction identical to those tested in assembly indicated according to ASTM E 119 by an independent testing agency.

Retain paragraph below where gypsum board is part of STC-rated assemblies.  Indicate design designations of specific assemblies on Drawings.

        - STC-Rated Assemblies:  For STC-rated assemblies, provide materials and construction identical to those tested in assembly indicated according to ASTM E 90 and classified according to ASTM E 413 by an independent testing agency.

Delete paragraph and subparagraphs below if not required.  If retaining, indicate location and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.

        - Mockups:  Before beginning gypsum board installation, install mockups of at least 100 sq. ft. (9 sq. m) in surface area to demonstrate aesthetic effects and set quality standards for materials and execution.

          - Install mockups for the following:

            - Each level of gypsum board finish indicated for use in exposed locations.

            - Each texture finish indicated.

          - Apply or install final decoration indicated, including painting and wallcoverings, on exposed surfaces for review of mockups.

          - Simulate finished lighting conditions for review of mockups.

Retain subparagraph below if mockups are erected as part of building rather than separately and the intention is to make an exception to the default requirement in Division 1 Section "Quality Requirements" for demolishing and removing mockups when directed, unless otherwise indicated.

          - Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

      - STORAGE AND HANDLING

        - Store materials inside under cover and keep them dry and protected against damage from weather, condensation, direct sunlight, construction traffic, and other causes.  Stack panels flat to prevent sagging.

      - PROJECT CONDITIONS

        - Environmental Limitations:  Comply with ASTM C 840 requirements or gypsum board manufacturer's written recommendations, whichever are more stringent.

Delete first paragraph below if infeasible for fast-track construction.

        - Do not install interior products until installation areas are enclosed and conditioned.

        - Do not install panels that are wet, those that are moisture damaged, and those that are mold damaged.

          - Indications that panels are wet or moisture damaged include, but are not limited to, discoloration, sagging, or irregular shape.

          - Indications that panels are mold damaged include, but are not limited to, fuzzy or splotchy surface contamination and discoloration.

- PRODUCTS

      - PANELS, GENERAL

        - Size:  Provide in maximum lengths and widths available that will minimize joints in each area and that correspond with support system indicated.

      - INTERIOR GYPSUM BOARD

ASTM C 36/C 36M is traditional standard used to specify regular and Type X gypsum board; ASTM C 1396/C 1396M includes regular, Type X, ceiling, and exterior-soffit gypsum board, as well as other types of gypsum board panels.  Both standards are listed below to avoid confusion because manufacturers may only list compliance with one standard when compliance with either is satisfactory.

        - General:  Complying with ASTM C 36/C 36M or ASTM C 1396/C 1396M, as applicable to type of gypsum board indicated and whichever is more stringent.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

G-P Gypsum offers two different product lines.  "DensArmor Plus" incorporates patented embedded glass mats on both surfaces, providing improved water-, and mold-resistance.  "ToughRock"  is a conventional panel with paper facing on both sides.  Revise Section Text accordingly to indicate the required Basis-of-Design Product.

          - Basis-of-Design Product:  The design for each type of gypsum board and related products is based on G-P Gypsum products named.  Subject to compliance with requirements, provide the named product or a comparable product by one of the following:

            - American Gypsum Co.

            - BPB America Inc.

            - Lafarge North America Inc.

            - National Gypsum Company.

            - PABCO Gypsum.

            - Temple.

            - USG Corporation.

            - <Insert manufacturer's name.>

        - Regular Type:

Regular-type gypsum panels are also available in 1/4- and 3/8-inch (6.4- and 9.5-mm) thicknesses for limited applications.

          - Basis-of-Design Product:  G-P Gypsum; "[DensArmor Plus Paperless Interior Panel] [ToughRock Gypsum Board]."

          - Thickness:  1/2 inch (12.7 mm).

          - Long Edges:  Tapered.

        - Type X:

          - Basis-of-Design Product:  G-P Gypsum; "[DensArmor Plus Fireguard Paperless Interior Panel] [ToughRock Fireguard Gypsum Board]."

          - Thickness:  5/8 inch (15.9 mm).

          - Long Edges:  Tapered.

Type C gypsum board has fire-resistive capability greater than that of Type X.  For rated assemblies, panels from different manufacturers cannot be intermixed because ratings apply only to assemblies identical in materials and construction to those tested.  Design designations of independent testing agencies indicated on Drawings generally determine product requirements for Type C gypsum board.

        - Type C:

Products are available in 1/2- and 5/8-inch (12.7- and 15.9-mm) thicknesses.

          - Basis-of-Design Product:  G-P Gypsum; "[DensArmor Plus Fireguard C Paperless Interior Panel] [ToughRock Fireguard C Gypsum Board]."

          - Thickness:  As required by fire-resistance-rated assembly indicated on Drawings.

          - Long Edges:  Tapered.

        - Flexible Type:  Manufactured to bend to fit radii and to be more flexible than standard regular-type gypsum board of same thickness.

          - Basis-of-Design Product:  G-P Gypsum; "ToughRock FlexRoc Gypsum Board".

          - Thickness:  1/4 inch (6.4 mm).

          - Long Edges:  Tapered.

        - Ceiling Type:  Manufactured to have more sag resistance than regular-type gypsum board.

DensArmor Plus meets sag resistance requirements for ceiling applications.

          - Basis-of-Design Product:  G-P Gypsum; "[DensArmor Plus Paperless Interior Panel] [ToughRock CD Ceiling Board]."

          - Thickness:  1/2 inch (12.7 mm).

          - Long Edges:  Tapered.

Foil-backed gypsum board is not recommended for use in hot, humid climates such as the Southern Atlantic and Gulf Coast areas of the U.S.

G-P does not manufacture a product complying with requirements of the paragraph below.

        - Foil-Backed Type:

          - Core:  [As indicated on Drawings] [3/8 inch (9.5 mm), regular type] [1/2 inch (12.7 mm), regular type] [5/8 inch (15.9 mm), Type X] [Type C as required by fire-resistance-rated assembly indicated on Drawings].

          - Long Edges:  [Tapered] [Tapered and featured (rounded or beveled) for prefilling].

G-P does not manufacture a product complying with requirements of the paragraph below.

        - Abuse-Resistant Type:  Manufactured to produce greater resistance to surface indentation, through-penetration (impact resistance), and abrasion than standard, regular-type and Type X gypsum board.

          - Core:  [As indicated on Drawings] [1/2 inch (12.7 mm), regular type] [5/8 inch (15.9 mm), Type X].

          - Long Edges:  Tapered.

G-P does not manufacture a product complying with requirements of the paragraph below.

        - High-Impact Type:  Manufactured with Type X core, plastic film laminated to back side for greater resistance to through-penetration (impact resistance).

          - Core:  [As indicated on Drawings] [5/8 inch (15.9 mm) thick] <Insert thickness>.

          - Plastic-Film Thickness:  [0.010 inch (0.254 mm)] [0.020 inch (0.508 mm)] [0.030 inch (0.762 mm)] [0.081 inch (2.057 mm)].

        - Examples of moisture- and mold-resistant panels include; moisture- and mold-resistant type with moisture-resistant surfaces:  G-P's "DensArmor Plus Paperless Interior Panel" panels, which have coated glass-mat facings and comply with both ASTM C 36/C 36M and ASTM C 1177/C 1177M. Mold-resistant type; USG's "SHEETROCK Brand HUMITEK" panels and National Gypsum's "XP Wallboard," which are both paper faced and comply with ASTM C 36/C 36M.Moisture- and Mold-Resistant Type:  With moisture- and mold-resistant core and surfaces.

          - Basis-of-Design Product:  G-P Gypsum; "[DensArmor Plus Paperless Interior Panel] [DensArmor Plus Fireguard Paperless Interior Panel] [DensArmor Plus Fireguard C  Paperless Interior Panel]."

          - Core:  [1/2 inch (12.7 mm)] [5/8 inch (15.9 mm), Type X] [1/2 inch (12.7 mm), Type C].

          - Long Edges:  Tapered.

If required, insert other types of gypsum board here.

      - EXTERIOR GYPSUM BOARD FOR CEILINGS AND SOFFITS

        - Exterior Gypsum Soffit Board:  ASTM C 931/C 931M or ASTM C 1396/C 1396M, with manufacturer's standard edges.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

          - Basis-of-Design Product:  The design for each type of gypsum board and related products is based on G-P Gypsum products named.  Subject to compliance with requirements, provide the named product or a comparable product by one of the following:

            - American Gypsum Co.

            - BPB America Inc.

            - Lafarge North America Inc.

            - National Gypsum Company.

            - PABCO Gypsum.

            - Temple.

            - USG Corporation.

            - <Insert manufacturer's name.>

          - Core:  [As indicated] [1/2 inch (12.7 mm), regular type] [5/8 inch (15.9 mm), Type X].

Paragraph below specifies "Dens-Glass Gold" by G-P (only), which can be used in lieu of exterior gypsum soffit board.

        - Glass-Mat Gypsum Sheathing Board:  ASTM C 1177/C 1177M.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

          - Product:  Subject to compliance with requirements, provide "Dens-Glass Gold" by G-P Gypsum.

          - Core:  [As indicated] [1/2 inch (12.7 mm), regular type] [5/8 inch (15.9 mm), Type X].

          - Long Edges:  Square.

      - GYPSUM TILE BACKING PANELS

Water-resistant gypsum backing board can be painted to produce a continuous wall surface adjacent to tile.  To avoid sagging, do not use it on ceilings.  See "Tile Backing Panels" Article in the Evaluations.  Water resistant gypsum backer board ('greenboard') no longer meets the requirements of the International Building Code (IBC) for a base for ceramic tile in tub and shower areas.  Coated, glass-mat, water-resistant backing board complying with ASTM C1178/C 1178M meets the requirements of Section 2509.2 of the IBC as a base for tile in tub and shower areas.

        - Water-Resistant Gypsum Backing Board:  ASTM C 630/C 630M or ASTM C 1396/C 1396M.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

          - Basis-of-Design Product:  The design for each type of gypsum board and related products is based on G-P Gypsum products named.  Subject to compliance with requirements, provide the named product or a comparable product by one of the following:

            - American Gypsum Co.

            - BPB America Inc.

            - Lafarge North America Inc.

            - National Gypsum Company.

            - PABCO Gypsum.

            - Temple.

            - USG Corporation.

            - <Insert manufacturer's name.>

          - Core:  [As indicated on Drawings] [1/2 inch (12.7 mm), regular type] [5/8 inch (15.9 mm), Type X] [Type C as required by fire-resistance-rated assembly indicated on Drawings].

First paragraph below specifies "DensShield Tile Backer" or "DensArmor Plus Paperless Interior Panel" by G-P (only), which can be used in lieu of water-resistant gypsum backing board.  "Dens Shield" product meets requirements of the 2006 International Building Code Section 2509.2 on walls and ceilings in tub and shower areas.

        - Glass-Mat, Water-Resistant Backing Board with Water-Resistant Coating:

          - Complying with ASTM C 1178/C 1178M.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

            - Product:  Subject to compliance with requirements, provide "DensShield Tile Backer" by G-P Gypsum.

          - Core:  [As indicated on Drawings] [1/2 inch (12.7 mm), regular type] [5/8 inch (15.9 mm), Type X].

          - Long Edges:  Square.

        - Glass-Mat Water-Resistant Tile-Backing Panel:

          - Complying with ASTM C1177/C 1177M.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

            - Product:  Subject to compliance with requirements, provide "DensArmor Plus Paperless Interior Panel" by G-P Gypsum.

          - Core:  [As indicated on Drawings] [1/2 inch (12.7 mm), regular type] [5/8 inch (15.9 mm), Type X].

          - Long Edges:  Tapered.

G-P does not manufacture a product complying with requirements of the paragraph below

      - TRIM ACCESSORIES

        - Interior Trim:  ASTM C 1047.

          - Material:  [Galvanized or aluminum-coated steel sheet, rolled zinc, plastic, or paper-faced galvanized steel sheet] [Galvanized or aluminum-coated steel sheet or rolled zinc] [Plastic] [Paper-faced galvanized steel sheet].

          - Shapes:

            - Cornerbead.

            - Bullnose bead.

            - LC-Bead:  J-shaped; exposed long flange receives joint compound.

            - L-Bead:  L-shaped; exposed long flange receives joint compound.

            - U-Bead:  J-shaped; exposed short flange does not receive joint compound.

            - Expansion (control) joint.

            - Curved-Edge Cornerbead:  With notched or flexible flanges.

        - Exterior Trim:  ASTM C 1047.

          - Material:  [Hot-dip galvanized steel sheet, plastic, or rolled zinc] <Insert material>.

          - Shapes:

            - Cornerbead.

            - LC-Bead:  J-shaped; exposed long flange receives joint compound.

            - Expansion (Control) Joint:  One-piece, rolled zinc with V-shaped slot and removable strip covering slot opening.

Show dimensions and profiles of aluminum trim on Drawings.

        - Aluminum Trim:  Extruded accessories of profiles and dimensions indicated.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first two subparagraphs and list of manufacturers below.  See Division 1 Section "Product Requirements."

          - Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

          - Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

            - Fry Reglet Corp.

            - Gordon, Inc.

            - Pittcon Industries.

            - <Insert manufacturer's name.>

          - Aluminum:  Alloy and temper with not less than the strength and durability properties of ASTM B 221 (ASTM B 221M), Alloy 6063-T5.

          - Finish:  [Corrosion-resistant primer compatible with joint compound and finish materials specified] <Insert requirements for Class II anodic finishes and factory-painted, baked-enamel finishes>.

      - JOINT TREATMENT MATERIALS

        - General:  Comply with ASTM C 475/C 475M.

Paper tape may be used on DensArmor paperless gypsum panels and conventional joint treatment methods may used to bed and finish the joint.  To provide increased resistance to mold, fiberglass mesh tape may be used and should be bedded with a setting-type joint compound.  After the DensArmor joints have been taped and bedded with fiberglass tape and setting type compound, regular joint compound may be used for subsequent joint treatment coats.

        - Joint Tape:

          - Basis-of-Design Product:  ["G-P Gypsum; ToughRock Tape"] [10-by-10 glass mesh].

          - Interior Gypsum Wallboard:  Paper.

          - Exterior Gypsum Soffit Board:  Paper.

          - Glass-Mat Gypsum Wallboard:  [Paper] [10-by-10 glass mesh].

          - Glass-Mat Gypsum Sheathing Board:  10-by-10 glass mesh.

          - Tile Backing Panels:  As recommended by panel manufacturer.

        - Joint Compound for Interior Gypsum Wallboard:  For each coat use formulation that is compatible with other compounds applied on previous or for successive coats.

See "Joint Compound" Article in the Evaluations.

          - Prefilling:  At open joints[, rounded or beveled panel edges,] and damaged surface areas, use setting-type taping compound.

            - Basis-of-Design Product:  G-P Gypsum; "[ToughRock Setting Compound] [ToughRock Sandable Setting Compound]."

          - Embedding and First Coat:  For embedding tape and first coat on joints, fasteners, and trim flanges, use [setting-type taping] [drying-type, all-purpose] compound.

            - Basis-of-Design Product:  G-P Gypsum; "[ToughRock Setting Compound] [ToughRock Sandable Setting Compound] [ToughRock Ready Mix All-Purpose Joint Compound]."

            - Use setting-type compound for installing paper-faced metal trim accessories.

          - Fill Coat:  For second coat, use [setting-type, sandable topping] [drying-type, all-purpose] compound.

            - Basis-of-Design Product:  G-P Gypsum; "[ToughRock Setting Compound] [ToughRock Sandable Setting Compound] [ToughRock Ready Mix All-Purpose Joint Compound] [ToughRock Ready Mix Topping Joint Compound]."

          - Finish Coat:  For third coat, use [setting-type, sandable topping] [drying-type, all-purpose] compound.

            - Basis-of-Design Product:  G-P Gypsum; "[ToughRock Setting Compound] [ToughRock Sandable Setting Compound] [ToughRock Ready Mix All-Purpose Joint Compound] [ToughRock Ready Mix Topping Joint Compound]."

          - Skim Coat:  For final coat of Level 5 finish, use [setting-type, sandable topping compound] [drying-type, all-purpose compound] [high-build interior coating product designed for application by airless sprayer and to be used instead of skim coat to produce Level 5 finish].

            - Basis-of-Design Product:  G-P Gypsum; "[ToughRock Setting Compound] [ToughRock Sandable Setting Compound] [ToughRock Ready Mix All-Purpose Joint Compound] [ToughRock Ready Mix Topping Joint Compound]."

        - Joint Compound for Exterior Applications:

G-P Gypsum does not recommend use of its sandable compounds for exterior applications.

          - Basis-of-Design Product:  G-P Gypsum; "ToughRock Setting Compound."

          - Exterior Gypsum Soffit Board:  Use setting-type taping compound and setting-type, sandable topping compound.

          - Glass-Mat Gypsum Sheathing Board:  As recommended by sheathing board manufacturer.

        - Joint Compound for Tile Backing Panels:

          - Basis-of-Design Product:  G-P Gypsum; "ToughRock Setting Compound."

          - Water-Resistant Gypsum Backing Board:  Use setting-type taping compound and setting-type, sandable topping compound.

          - Glass-Mat, Water-Resistant Backing Panel:  As recommended by backing panel manufacturer.

          - Glass-Mat Gypsum Wallboard:  As recommended by wallboard manufacturer.

          - Cementitious Backer Units:  As recommended by backer unit manufacturer.

      - AUXILIARY MATERIALS

        - General:  Provide auxiliary materials that comply with referenced installation standards and manufacturer's written recommendations.

        - Laminating Adhesive:  Adhesive or joint compound recommended for directly adhering gypsum panels to continuous substrate.

Retain subparagraph below if low-emitting materials are required for LEED Credit EQ 4.1.  VOC limit is that for gypsum board and panel adhesives in South Coast Air Quality Management District Rule #1168.

          - Use adhesives that have a VOC content of 50 g/L or less when calculated according to 40 CFR 59, Subpart D (EPA Method 24).

        - Steel Drill Screws:  ASTM C 1002, unless otherwise indicated.

Delete subparagraph below if panels are not attached to cold-formed metal framing specified in Division 5.

          - Use screws complying with ASTM C 954 for fastening panels to steel members from 0.033 to 0.112 inch (0.84 to 2.84 mm) thick.

Delete subparagraph below if no cementitious backer units.

          - For fastening cementitious backer units, use screws of type and size recommended by panel manufacturer.

        - Sound Attenuation Blankets:  ASTM C 665, Type I (blankets without membrane facing) produced by combining thermosetting resins with mineral fibers manufactured from glass, slag wool, or rock wool.

          - Fire-Resistance-Rated Assemblies:  Comply with mineral-fiber requirements of assembly.

        - Acoustical Sealant:  As specified in Division 7 Section "Joint Sealants."

        - Thermal Insulation:  As specified in Division 7 Section "Building Insulation."

If desired, delete last paragraph above and paragraph below and insert requirements for thermal insulation and vapor retarder.

        - Vapor Retarder:  As specified in Division 7 Section "Building Insulation."

      - TEXTURE FINISHES

        - Primer:  As recommended by textured finish manufacturer.

        - Polystyrene Aggregate Ceiling Finish:  Water-based, job-mixed, polystyrene aggregate finish with flame-spread and smoke-developed indexes of not more than 25 when tested according to ASTM E 84.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

          - Basis-of-Design Product:  Subject to compliance with requirements, provide G-P Gypsum; "Georgia Pacific ToughRock Ceiling Textures/Polystyrene", or a comparable product by one of the following:

            - National Gypsum Company; Perfect Spray.

            - USG Corporation; SHEETROCK Ceiling Spray Texture, QT.

            - <Insert manufacturer's name; product name or designation.>

          - Texture:  [Fine] [Medium] [Coarse].

        - Aggregate Finish:  Water-based, job-mixed, aggregated, drying-type texture finish for spray application.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  See Division 1 Section "Product Requirements."

          - Basis-of-Design Product:  Subject to compliance with requirements, provide G-P Gypsum; "Georgia-Pacific ToughRock Ceiling Textures/Vermiculite", or a comparable product by one of the following:

            - USG Corporation; SHEETROCK Wall and Ceiling Spray Texture (Aggregated).

            - <Insert manufacturer's name; product name or designation.>

Correlate texture requirements with products retained or inserted above.  G-P product is not available in spatter knock-down finish.

          - Texture:  [Light spatter] [Spatter knock-down] <Insert texture>.

G-P Gypsum does not manufacture a product complying with requirements of the paragraph below.

        - Acoustical Finish:  Water-based, chemical-setting or drying-type, job-mixed texture finish for spray application.

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.  Retain one of first two subparagraphs and list of manufacturers and products below.  See Division 1 Section "Product Requirements."

          - Available Products:  Subject to compliance with requirements, products that may be incorporated into the Work include, but are not limited to, the following:

          - Products:  Subject to compliance with requirements, provide one of the following:

            - International Cellulose Corp.; SonaSpray "fc."

            - USG Corporation; USG Acoustical Plaster Finish.

            - <Insert manufacturer's name; product name or designation.>

          - Application Thickness:  [1/2 inch (12.7 mm)] <Insert thickness>.

          - Fire-Test-Response Characteristics:  Indices when tested according to ASTM E 84 as follows:

Example flame-spread and smoke-developed indexes below are based on requirements for Class A finishes.  Listed products have smaller indexes; if desired, revise to suit products selected.

            - Flame Spread:  Less than [25] <Insert index>.

            - Smoke Developed:  Less than [450] <Insert index>.

          - NRC:  [0.55] <Insert NRC> according to ASTM C 423.

- EXECUTION

      - EXAMINATION

        - Examine areas and substrates, with Installer present, and including welded hollow-metal frames and framing, for compliance with requirements and other conditions affecting performance.

        - Examine panels before installation.  Reject panels that are wet, moisture damaged, and mold damaged.

        - Proceed with installation only after unsatisfactory conditions have been corrected.

      - APPLYING AND FINISHING PANELS, GENERAL

        - Comply with ASTM C 840.

        - Install ceiling panels across framing to minimize the number of abutting end joints and to avoid abutting end joints in central area of each ceiling.  Stagger abutting end joints of adjacent panels not less than one framing member.

        - Install panels with face side out.  Butt panels together for a light contact at edges and ends with not more than 1/16 inch (1.5 mm) of open space between panels.  Do not force into place.

        - Locate edge and end joints over supports, except in ceiling applications where intermediate supports or gypsum board back-blocking is provided behind end joints.  Do not place tapered edges against cut edges or ends.  Stagger vertical joints on opposite sides of partitions.  Do not make joints other than control joints at corners of framed openings.

        - Form control and expansion joints with space between edges of adjoining gypsum panels.

        - Cover both faces of support framing with gypsum panels in concealed spaces (above ceilings, etc.), except in chases braced internally.

          - Unless concealed application is indicated or required for sound, fire, air, or smoke ratings, coverage may be accomplished with scraps of not less than 8 sq. ft. (0.7 sq. m) in area.

          - Fit gypsum panels around ducts, pipes, and conduits.

          - Where partitions intersect structural members projecting below underside of floor/roof slabs and decks, cut gypsum panels to fit profile formed by structural members; allow 1/4- to 3/8-inch- (6.4- to 9.5-mm-) wide joints to install sealant.

Detail perimeter isolation on Drawings.  See "Crack Control" Article in the Evaluations.

        - Isolate perimeter of gypsum board applied to non-load-bearing partitions at structural abutments, except floors.  Provide 1/4- to 1/2-inch- (6.4- to 12.7-mm-) wide spaces at these locations, and trim edges with edge trim where edges of panels are exposed.  Seal joints between edges and abutting structural surfaces with acoustical sealant.

        - Attachment to Steel Framing:  Attach panels so leading edge or end of each panel is attached to open (unsupported) edges of stud flanges first.

Retain paragraph below for wood framing where fire ratings are not required.

        - Wood Framing:  Install gypsum panels over wood framing, with floating internal corner construction.  Do not attach gypsum panels across the flat grain of wide-dimension lumber, including floor joists and headers.  Float gypsum panels over these members, or provide control joints to counteract wood shrinkage.

        - STC-Rated Assemblies:  Seal construction at perimeters, behind control joints, and at openings and penetrations with a continuous bead of acoustical sealant.  Install acoustical sealant at both faces of partitions at perimeters and through penetrations.  Comply with ASTM C 919 and with manufacturer's written recommendations for locating edge trim and closing off sound-flanking paths around or through assemblies, including sealing partitions above acoustical ceilings.

      - APPLYING INTERIOR GYPSUM BOARD

        - Install interior gypsum board in the following locations:

          - Regular Type:  [As indicated on Drawings] [Vertical surfaces, unless otherwise indicated].

          - Type X:  [As indicated on Drawings] [Where required for fire-resistance-rated assembly] [Vertical surfaces, unless otherwise indicated] <Insert requirements>.

          - Type C:  [As indicated on Drawings] [Where required for specific fire-resistance-rated assembly indicated].

          - Flexible Type:  [As indicated on Drawings] [Apply in double layer at curved assemblies].

          - Ceiling Type:  [As indicated on Drawings] [Ceiling surfaces].

          - Foil-Backed Type:  [As indicated on Drawings] <Insert requirements>.

          - Abuse-Resistant Type:  [As indicated on Drawings] <Insert requirements>.

          - High-Impact Type:  [As indicated on Drawings] <Insert requirements>.

          - Moisture- and Mold-Resistant Type:  [As indicated on Drawings] <Insert requirements>.

        - Single-Layer Application:

Delete first subparagraph below if no gypsum board ceilings.

          - On ceilings, apply gypsum panels before wall/partition board application to greatest extent possible and at right angles to framing, unless otherwise indicated.

          - On partitions/walls, apply gypsum panels [vertically (parallel to framing)] [horizontally (perpendicular to framing)], unless otherwise indicated or required by fire-resistance-rated assembly, and minimize end joints.

            - Stagger abutting end joints not less than one framing member in alternate courses of panels.

Usually retain first subparagraph below if vertical application of panels is specified.

            - At stairwells and other high walls, install panels horizontally, unless otherwise indicated or required by fire-resistance-rated assembly.

          - On Z-furring members, apply gypsum panels vertically (parallel to framing) with no end joints.  Locate edge joints over furring members.

          - Fastening Methods:  Apply gypsum panels to supports with steel drill screws.

        - Multilayer Application:

Delete subparagraph below if no multilayer gypsum board ceilings.

          - On ceilings, apply gypsum board indicated for base layers before applying base layers on walls/partitions; apply face layers in same sequence.  Apply base layers at right angles to framing members and offset face-layer joints 1 framing member, 16 inches (400 mm) minimum, from parallel base-layer joints, unless otherwise indicated or required by fire-resistance-rated assembly.

Revise two subparagraphs below if wall conditions permit economical use of horizontal application of base layer and face layers are laminated to base layers.

          - On partitions/walls, apply gypsum board indicated for base layers and face layers vertically (parallel to framing) with joints of base layers located over stud or furring member and face-layer joints offset at least one stud or furring member with base-layer joints, unless otherwise indicated or required by fire-resistance-rated assembly.  Stagger joints on opposite sides of partitions.

          - On Z-furring members, apply base layer vertically (parallel to framing) and face layer either vertically (parallel to framing) or horizontally (perpendicular to framing) with vertical joints offset at least one furring member.  Locate edge joints of base layer over furring members.

First option in subparagraph below is required for some fire-resistance-rated assemblies.

          - Fastening Methods:  [Fasten base layers and face layers separately to supports with screws] [Fasten base layers with screws; fasten face layers with adhesive and supplementary fasteners].

Insert specific requirements for particular substrate in paragraph below.

        - Laminating to Substrate:  Where gypsum panels are indicated as directly adhered to a substrate (other than studs, joists, furring members, or base layer of gypsum board), comply with gypsum board manufacturer's written recommendations and temporarily brace or fasten gypsum panels until fastening adhesive has set.

Delete paragraph and subparagraphs below if no curved partitions.

        - Curved Surfaces:

          - Install panels horizontally (perpendicular to supports) and unbroken, to extent possible, across curved surface plus 12-inch- (300-mm-) long straight sections at ends of curves and tangent to them.

          - For double-layer construction, fasten base layer to studs with screws 16 inches (400 mm) o.c.  Center gypsum board face layer over joints in base layer, and fasten to studs with screws spaced 12 inches (300 mm) o.c.

      - APPLYING EXTERIOR GYPSUM PANELS FOR CEILINGS AND SOFFITS

        - Apply panels perpendicular to supports, with end joints staggered and located over supports.

Delete first subparagraph below or revise if perimeter relief will be provided by trim.  If retaining, detail sealant in gap on Drawings to keep insects from entering above ceiling areas.

          - Install with 1/4-inch (6.4-mm) open space where panels abut other construction or structural penetrations.

          - Fasten with corrosion-resistant screws.

      - APPLYING TILE BACKING PANELS

        - Water-Resistant Gypsum Backing Board:  Install at showers, tubs, and where indicated.  Install with 1/4-inch (6.4-mm) gap where panels abut other construction or penetrations.

        - Glass-Mat, Water-Resistant Backing Panel:  Comply with manufacturer's written installation instructions and install at [showers, tubs, and where indicated] [locations indicated to receive tile].  Install with 1/4-inch (6.4-mm) gap where panels abut other construction or penetrations.

Retain first option in paragraph above or below if use of panels is limited to surfaces subject to frequent wetting.  Retain second option if panels are required for all wall-tile substrates, regardless of exposure to wetting.

        - Cementitious Backer Units:  ANSI A108.11, at [showers, tubs, and where indicated] [locations indicated to receive tile].

Retain paragraph below if regular-type gypsum board is an acceptable substrate in dry locations.

        - Areas Not Subject to Wetting:  Install regular-type gypsum wallboard panels to produce a flat surface except at showers, tubs, and other locations indicated to receive water-resistant panels.

Retain paragraph below if tile backing panels abut thinner wallboard in same plane, or vice versa, and detail these conditions on Drawings.

        - Where tile backing panels abut other types of panels in same plane, shim surfaces to produce a uniform plane across panel surfaces.

      - INSTALLING TRIM ACCESSORIES

        - General:  For trim with back flanges intended for fasteners, attach to framing with same fasteners used for panels.  Otherwise, attach trim according to manufacturer's written instructions.

Generally, retain first option in first paragraph below and show joints on Drawings.  See "Crack Control" Article in the Evaluations for discussion of control joints.

        - Control Joints:  Install control joints [at locations indicated on Drawings] [according to ASTM C 840 and in specific locations approved by Architect for visual effect].

        - Interior Trim:  Install in the following locations:

          - Cornerbead:  Use at outside corners[, unless otherwise indicated].

          - Bullnose Bead:  Use [at outside corners] [where indicated] <Insert requirements>.

          - LC-Bead:  Use [at exposed panel edges] <Insert requirements>.

          - L-Bead:  Use [where indicated] <Insert requirements>.

          - U-Bead:  Use [at exposed panel edges] [where indicated] <Insert requirements>.

          - Curved-Edge Cornerbead:  Use at curved openings.

        - Exterior Trim:  Install in the following locations:

          - Cornerbead:  Use at outside corners.

          - LC-Bead:  Use [at exposed panel edges] <Insert requirements>.

        - Aluminum Trim:  Install in locations [indicated on Drawings] <Insert requirements>.

      - FINISHING GYPSUM BOARD

        - General:  Treat gypsum board joints, interior angles, edge trim, control joints, penetrations, fastener heads, surface defects, and elsewhere as required to prepare gypsum board surfaces for decoration.  Promptly remove residual joint compound from adjacent surfaces.

        - Prefill open joints[, rounded or beveled edges,] and damaged surface areas.

        - Apply joint tape over gypsum board joints, except those with trim having flanges not intended for tape.

See "Gypsum Board Finish Levels" Article in the Evaluations for a discussion of requirements of various levels.

        - Gypsum Board Finish Levels:  Finish panels to levels indicated below and according to ASTM C 840:

Gypsum board finish levels are minimum requirements established by ASTM C 840 without elaboration.  Edit or modify the following subparagraphs based on project conditions.

          - Level 1:  Ceiling plenum areas, concealed areas, and where indicated.

          - Level 2:  [Panels that are substrate for tile] [Panels that are substrate for acoustical tile] [Where indicated on Drawings] <Insert locations>.

Level 3 is suitable for surfaces receiving medium- or heavy-textured finishes before painting or heavy wallcoverings where lighting conditions are not critical.

          - Level 3:  [Where indicated on Drawings] <Insert locations>.

Level 4 is suitable for surfaces receiving light-textured finishes, wallcoverings, and flat paints.  It is generally the standard exposed finish.  Gloss and semi-gloss enamel paints are not usually recommended over this level of finish.  ASTM C 840 requires application of "drywall primer" on surfaces before final decoration.  Specify priming of gypsum board surfaces in Division 9 painting Sections.

          - Level 4:  [At panel surfaces that will be exposed to view, unless otherwise indicated] <Insert locations>.

            - Primer and its application to surfaces are specified in other Division 9 Sections.

Level 5 is suitable for surfaces receiving gloss and semigloss enamels and other surfaces subject to severe lighting.  It is considered a high-quality gypsum board finish.

          - Level 5:  [Where indicated on Drawings] <Insert locations>.

            - Primer and its application to surfaces are specified in other Division 9 Sections.

        - Glass-Mat Gypsum Sheathing Board:  Finish according to manufacturer's written instructions for use as exposed soffit board.

        - Glass-Mat, Water-Resistant Backing Panels:  Finish according to manufacturer's written instructions.

        - Cementitious Backer Units:  Finish according to manufacturer's written instructions.

      - APPLYING TEXTURE FINISHES

        - Surface Preparation and Primer:  Prepare and apply primer to gypsum panels and other surfaces receiving texture finishes.  Apply primer to surfaces that are clean, dry, and smooth.

        - Texture Finish Application:  Mix and apply finish using powered spray equipment, to produce a uniform texture[ matching approved mockup and] free of starved spots or other evidence of thin application or of application patterns.

        - Prevent texture finishes from coming into contact with surfaces not indicated to receive texture finish by covering them with masking agents, polyethylene film, or other means.  If, despite these precautions, texture finishes contact these surfaces, immediately remove droppings and overspray to prevent damage according to texture-finish manufacturer's written recommendations.

      - PROTECTION

        - Protect installed products from damage from weather, condensation, direct sunlight, construction, and other causes during remainder of the construction period.

        - Remove and replace panels that are wet, moisture damaged, and mold damaged.

          - Indications that panels are wet or moisture damaged include, but are not limited to, discoloration, sagging, or irregular shape.

          - Indications that panels are mold damaged include, but are not limited to, fuzzy or splotchy surface contamination and discoloration.

END OF SECTION 09250