GUIDE SPECIFICATION

SECTION 03366

WATER-BASED REACTIVE STAINED CONCRETE FLOOR

******************************************************************************

This guide specification is intended to be used by a qualified construction specifier.  It is not intended to be used verbatim as a project specification without appropriate modifications for the specific use intended. Edit to meet project requirements.

Notes for review by the specifier are set off from specification text by rows of asterisks.  Optional text requiring a selection is enclosed within brackets, e.g., “Color shall be [gray] [white].”  Items requiring specifier input are enclosed within brackets, e.g., “Color:  [______].”

The Section uses the term “Architect.”  Change the term to match the appropriate design professional where appropriate.

******************************************************************************

PART 1 – GENERAL

1.1	SUMMARY

A.	Drawings and general provisions of Contract, including General and Supplementary Conditions and Division 1 Specification sections, apply to Work of this Section.

B.	Section Includes:

1.	Water-based Reactive stained concrete floor finish.

2.	Sealer.

C.	Related Sections:

1.	Division 3 Section “Cast-In-Place” for general applications of concrete.

2.	Division 7 Section “Joint Sealants” for colored sealant for joints.

1.2	SUBMITTALS

A.	Product Data:  Manufacturer’s technical data sheets and installation instructions for each product specified.

B.	Samples for Initial Selection or Custom Color Samples Provided by Manufacturer per Specifier’s Requirements:  Manufacturer’s color charts showing full range of colors available.

C.	Qualification Data:  For firms indicated in “Quality Assurance” Article, including lists of completed projects with project names and addresses, names and addresses of architects and owners, and other information specified.

1.3	QUALITY ASSURANCE

A.	Manufacturer Qualifications:  Manufacturer of stain and sealer products shall have minimum [10-] [_______] years experience in the production of chemical stains.

B.	Installer Qualifications:  Minimum [3-] [______] years experience in staining applications and successfully completed not less than [6] [_______] projects comparable in scale and complexity.

C.	Substitutions:  The use of any products other than those specified shall be considered providing that the [Contractor] [Construction Manager] requests its use in writing within 14 days prior to bid date.  This request shall be accompanied by:

1.	A certificate of compliance from the material manufacturer stating that the proposed products meet or exceed the requirements specified.

2.	Documented proof that the proposed material has a 10 year proven record of performance for staining concrete substrates, confirmed by at least 5 local projects that the [Architect] [_______] can examine.

D.	Regulatory Requirements:

1.	Products shall comply with the United States Clean Air Act for maximum Volatile Organic Compound (VOC) content as specified in PART 2 of this section.

E.	Source Limitations:  Obtain each specified material from same source and maintain high degree of consistency in workmanship throughout Project.

******************************************************************************

Color charts and small sample submittals provide only a general indication of color; color and appearance of completed work may differ.  Specify a mockup to demonstrate that proposed materials and workmanship produce acceptable concrete appearance.

******************************************************************************

F.	[Mockups]:

1.	Provide under provisions of Division 1 Section [“Quality Control.”] [_______.]

2.	At location on Project selected by [Architect] [_______], prepare [mockup] [4 by 4 feet (1.2 by 1.2 m)] [_______] for review and approval.

3.	Construct [mockup] using processes and techniques intended for use on permanent work, including curing procedures.  Include samples of control, construction, and expansion joints in [mockup] panels.

4.	[Mockup] shall be stained and sealed by the individual workers who will actually be performing the work for the Project.

5.	Obtain written approval of the [mockup] from Architect [______] before start of work.

6.	Retain approved [mockup] through completion of the Work for use as a quality standard for finished work.

7.	Approved [mockup] may become part of the completed Work if undisturbed at time of Substantial Completion.

******************************************************************************

Retain Paragraph above if mockups may be included as part of the Work.  Retain Paragraph below if mockups are erected separate from building and must be removed.

******************************************************************************

8.	Remove [mockup] when directed.

1.4	DELIVERY, STORAGE AND HANDLING

A.	Deliver the specified products in original, unopened containers with legible manufacturer’s identification and information.

B.	Store specified products in conditions recommended by the manufacturer.

1.5	PROJECT CONDITIONS

A.	Environmental Conditions:  Maintain an ambient temperature of between 50o and 90oF during application and at least 48 hours after application.

B.	Protection:  Precautions shall be taken to avoid damage or contamination of any surfaces near the work zone.  Protect completed stain work from moisture or contamination.

1.6	PRE-JOB CONFERENCE

A.	One week prior to the placement of Water-based Reactive Stain a meeting will be held to discuss the project and application of materials.

B.	It is suggested that the [Architect,] [_______] [General Contractor,] [Construction Manager,] Subcontractor and a Manufacturer Representative to be present.

PART 2 – PRODUCTS

2.1	ACCEPTABLE MANUFACTURERS

A.	Manufacturer:  L.M. SCOFIELD COMPANY, Douglasville, Georgia and Los Angeles, California (800) 800-9900 or the appropriate local contact:  Eastern Division – 201-672-9050; Western Division – 714-568-1870; Central Division Office – 630-377-5959.

2.2	MATERIALS

A.	Water-based Reactive Stains:  LITHOCHROME® Tintura™ Stain; L.M. SCOFIELD COMPANY, a ready-to-use, penetrating, reactive staining product that chemically bonds with cured concrete or cementitious toppings to produce translucent color effects.

1.	Colors:  As selected by [Architect] [_______].

******************************************************************************

Retain Paragraph above if colors are not selected.  Retain Paragraph below if colors have been selected and delete colors that are not required.

******************************************************************************

2.	Colors:  As indicated on the L.M. Scofield Color Chart(s).

B.	Sealers:

1.	[Sealer:] SCOFIELD® Selectseal-W™; L.M. SCOFIELD COMPANY, a premium-quality, one-component, clear, acrylic-polyurethane sealer resistant to staining, abrasion and ultraviolet (UV) radiation designed to protect concrete hardscapes, floors, cementitious toppings, and vertical concrete.

2.	SCOFIELD® Selectseal-S™ or SCOFIELD® Cureseal-S™ may be considered when humid or low temperature conditions exist and the use of waterborne SCOFIELD® Selectseal-W™ is not practical.

******************************************************************************

Delete Paragraph and Subparagraph below if joint sealants are not required.

******************************************************************************

C.	Sealants:  LITHOSEAL™ Trafficalk-3G™; L.M. SCOFIELD COMPANY.

1.	Colors:  As selected by [Architect] [_______].

******************************************************************************

Retain Paragraph above if colors are not selected.  Retain Paragraph below if colors have been selected and insert color names.  See color selections approximated on Scofield Color Chart(s).

******************************************************************************

2.	Colors:  Provide the following color(s):

a.	Color [1] [_______]:  [5566 Zenith Blue] [_______].

PART 3 – EXECUTION

3.1	EXAMINATION

A.	Verification of Conditions:  [Contractor] [Construction Manager] shall examine areas and conditions under which work will be performed and identify conditions detrimental to proper and timely completion of work.  Do not proceed until unsatisfactory conditions have been corrected.

3.2	PREPARATION

A.	New Concrete:

1.	Newly placed concrete shall be sufficiently cured to allow concrete to become reactive, minimum 28 days.

2.	Do not use liquid curing materials.  Cure concrete flatwork with new, unwrinkled, non-staining, high quality curing paper.  Do not overlap curing paper.

3.	Surfaces shall be cured using the same method and different sections (pours) chemically stained when the concrete is the same age.

4.	Immediately prior to chemically staining, thoroughly clean the concrete.  Sweep surfaces, the pressure wash or scrub using a rotary floor machine.  Use suitable, high-quality commercial detergents to facilitate cleaning.  Rinse surfaces after cleaning until rinse water is completely clean.  Allow floor to dry completely prior to application of floor stain.

5.	Concrete surfaces must be uniformly slip-resistant and profiled to meet a Concrete Surface Preparation (CSP) profile of 1-2 per ICRI guidelines.

6.	Some concrete may require abrading to open the surface and make it sufficiently penetrable.  In these instances the concrete surface must be sanded using an 60-80 mesh-sanding screen or a grit brush.  After sanding, all residue must be removed by power vacuuming.  The surface should then be pressure washed or scrubbed using a rotary floor machine.

7.	For preparation, the sandblaster should be capable of producing a light, uniform sandblast and be equipped with a dust collector.

8.	For preparation, the pressure washer should be equipped with a fan tip and have a minimum pressure capability of 4000 psi (14 MPa).  Hot water capability may facilitate cleaning of existing concrete.

9.	Acid washing may be required when the above surface preparation does not yield adequate penetration or if there are excessive alkali deposits or surface discoloration.  The reacted residue must be abraded using a low-speed floor machine equipped with a 60 mesh screen or a grit brush and then thoroughly rinsed until the rinse water is clear and free of solids, a minimum of two times.  After rinsing, neutralize any remaining acid residue by washing with a solution of baking soda (sodium bicarbonate) and water.  (Test pH of floor should be 7 or higher.)

B.	Existing Concrete:

1.	Clean concrete surfaces so that surfaces are completely penetrable before receiving the initial application of chemical stain.  Test surfaces to receive stain by spotting with water.  Water should immediately darken the substrate and be readily absorbed.  If water beads and does not penetrate or only penetrates in some areas, additional surface preparation and testing shall be performed.

2.	Cleaning method used depends on the condition of the concrete surface.  To remove dirt and other contaminates, detergents and other commercial grade cleaners should be considered and tested.

3.	Rinse concrete substrates until rinse water is completely clean.

4.	For preparation of interior floors, the rotary floor machine should be heavy duty and operate at approximately 175 rpm.  With a 60-80 mesh-sanding screen or a grit brush, remove all contaminates and weak cement paste from the surface.  This will also open the surface to allow the chemical stain to penetrate.

5.	Acid washing may also be required.  (Refer to New Concrete Preparation.)

******************************************************************************

Retain Paragraph below if scoring is included.  If only one color, scoring occurs after staining.

******************************************************************************

C.	Scoring:  Score decorative jointing in concrete surfaces 1/8-inch (3.2 mm) deep with diamond blades.  Rinse until water is completely clean.

3.2	APPLICATION OF WATER-BASED REACTIVE STAIN

A.	Concrete surfaces shall be dry and properly prepared as described above.  Protect surrounding areas from over-spray, run-off and tracking.  Divide surfaces into small work sections using wall, joint lines, or other stationary breaks as natural stopping points.

B.	Apply water-based reactive stains full strength (undiluted) at the coverage rate recommended by the manufacturer and use application equipment described in the manufacturer’s printed technical literature.  The color of the liquid chemical stain has no resemblance to the final color produced on the concrete substrate.

C.	Apply water-based reactive stain to the substrate with an airless sprayer or HVLP sprayer.

D.	Reaction time depends on wind conditions, temperatures, and humidity levels.

E.	The second coat, if required, should be applied after the first coat has dried sufficiently and can be walked on without damage, normally 2-4 hours after application depending on temperature and humidity.  A third coat could be applied 2-4 hours after the second coat.

F.	On vertical surfaces, spray applications of LITHOCHROME® Tintura™ Stain should start at the bottom and proceed upward.  The material should be applied in light coats while maintaining a wet edge to ensure penetration into the surface.

3.4	APPLICATION OF SEALER

A.	Concrete substrate shall be completely dry.

B.	Sealer shall be produced by the water-based reactive stain manufacturer.

C.	After the final LITHOCHROME® Tintura™ Stain application has dried sufficiently, normally 8-24 hours at 75o F (24o C) and 50% relative humidity, remove all contaminates from the surface by dry mopping if required.

D.	Apply sealer according to manufacturer’s written instructions at a rate of 300 to 500 square feet per gallon per coat.  Two coats are required.

E.	Maintain a wet edge at all times.

F.	Allow sealer to completely dry before applying additional coats.

G.	Apply second coat of sealer at 90o to the direction of the first coat using the same application method and rates.

H.	Seal horizontal joints in areas subject to pedestrian or vehicular traffic.

3.5	PROTECTION

A.	Protect floor from traffic for at least 72 hours after final application of sealer.

3.6	MAINTENANCE

A.	Maintain water-based reactive stained and sealed floors by sweeping.  Clean spills when they occur and rinse dirt off with water.  Wet-clean heavily soiled areas by mopping or by scrubbing with a rotary floor machine equipped with a scrubbing brush and a suitable, high-quality commercial detergent.  Maintain interior floors that require polishing by using a compatible, premium-grade, emulsion-type, commercial floor polish, following manufacturer’s instructions and safety requirements.

1.	Information on commercial floor polishes is available by contacting Johnson Diversey, Sturtevant, Wisconsin, 800-558-2332.

3.7	APPLICATORS

A.	For a list of contractors, contact the local L. M. Scofield Company Division Office:  Eastern Division – 201-672-9050; Western Division Office – 714-568-1870; Central Division Office – 630-377-5959.

END OF SECTION

© Copyright 2006.  All rights reserved.