GYPSUM CEMENT UNDERLAYMENT

RECOMMENDED SPECIFICATION FOR THERMA-FLOOR( UNDERLAYMENT AS THE HEAT MASS FOR RADIANT FLOOR HEATING OVER EXTRUDED OR EXPANDED POLYSTYRENE FOAM

PART 1	GENERAL

1.01		SUMMARY

- This is the recommended specification for Therma-Floor Underlayment as the heat mass for radiant floor heating over extruded or expanded polystyrene foam.

1.02			SECTION INCLUDES

- Therma-Floor gypsum cement

- Maxxon Floor Primer

- Maxxon Overspray

- Maxxon Set Modifier

1.03			QUALITY ASSURANCE

- Installer's Qualifications:  Installation of Therma-Floor shall be by an applicator authorized by the Maxxon Corporation using Maxxon approved mixing and pumping equipment.

1.04		DELIVERY, STORAGE AND HANDLING

- General Requirements:  Materials shall be delivered in their original, unopened packages, and protected from exposure to the elements.  Damaged or deteriorated materials shall be removed from the premises.

1.05		SITE CONDITIONS

- Environmental Requirements:  Before, during and after installation of Therma-Floor, building interior shall be enclosed and maintained at a temperature above 50 degrees F (10 degrees C).

PART 2	PRODUCTS

2.01		MATERIALS

- Gypsum Cement:  Floor underlayment Therma-Floor gypsum cement as manufactured by the Maxxon Corporation, Hamel, MN.  All others must receive prior approval.

- Sand Aggregate:  Sand shall be 1/8 inch (3 mm) or less, washed masonry or plaster sand, meeting requirements of Maxxon Sand Specifications 101.

- Mix Water:  Potable, free from impurities.

- EPS Foam:   Extruded polystyrene with a minimum density of 1.5 pcf (25.6 kg/m2) [Type IV] or expanded polystyrene with a minimum density of 1.8 pcf (28.8 kg/m2) [Type IX].  Both types of insulation must meet ASTM C 578.  The foam must be securely fastened either mechanically, by slurry with Therma-Floor or with EPS adhesive.

- Polystyrene Primer:  Maxxon Floor Primer

- Sealer:  Maxxon Overspray

2.02		MIX DESIGNS

- General Requirements:  Mix proportions and methods shall be in strict accordance with product manufacturer recommendations.

PART 3	EXECUTION

3.01	PREPARATION

- Condition and Cleaning of Subfloor:  Subfloor shall be structurally sound.  General Contractor shall clean subfloor to remove mud, oil, grease, and other contaminating factors before the installation of the polystyrene.

- Fasten the Polystyrene to Subfloor:  Polystyrene insulation is to be fastened down by mechanical fasteners, adhesives or a Therma-Floor slurry.

- Priming Polystyrene:  Prime the polystyrene using the Maxxon Floor Primer.

- Expansion Joints:  Allow joints to continue through the Therma-Floor at the same width.

3.02	APPLICATION OF CEMENTITIOUS FLOORING

- Scheduling:  Application of Therma-Floor shall not begin until the building is enclosed, including roof, windows, doors, and other fenestration.  Install after drywall installation unless tenant finish requirements identify partitioning after the pour.

- Application:  Place the Therma-Floor heat mass in two pour application.  Install the first lift (pour) to the top of tubing or cable, then allow to set-up.  Maxxon Set Modifier may be used to accelerate the set-time of the first lift per Maxxon Corporation’s recommendations.  Install the second lift 3/4 inch (19 mm) above the first lift.  Spread and screed Therma-Floor to a smooth surface.  The Therma-Floor minimum thickness over radiant heat systems is 3/4 inch (19 mm) over the top of the tubes or cables.  Also, the minimum thickness of Therma-Floor over EPS foam is 1 1/2 inches (38 mm).

- Drying:  General Contractor shall provide continuous ventilation and adequate heat to rapidly remove moisture from the Therma-Floor until it is dry.  General Contractor shall provide mechanical ventilation if necessary.  The radiant heat system can be started after the 
Therma-Floor sets up to accelerate the drying time.  To test for dryness, tape a 24 inch by 24 inch (609 mm by 609 mm) section of plastic or high density rubber mat to the surface of the underlayment.  After 48-72 hours, if no condensation occurs, the underlayment shall be considered dry.  Perform dryness test 5-7 days after pour.

3.03	PREPARATION FOR INSTALLATION OF GLUE DOWN FLOOR GOODS

- Sealing:  Seal all areas that receive glue down floor goods with Maxxon Overspray according to the Maxxon Corporation's specifications.  Any floor areas where the surface has been damaged shall be cleaned and sealed regardless of floor covering to be used.  Where floor goods manufacturers require special adhesive or installation systems, their requirements supersede these recommendations.

- Floor Goods Procedures:  See the Maxxon Corporation's "Procedures for Attaching Finished Floor Goods to Maxxon Underlayments" brochure for guidelines for installing finished floor goods.  This procedure is not a warranty and is to be used as a guideline only.

3.04	FIELD QUALITY CONTROL

- Slump Test:  Therma-Floor mix shall be tested for slump as it is being pumped using a 2 inch by 4 inch (50 mm by 101 mm) cylinder resulting in a patty size of 8 inches (203 mm) plus or minus 1 inch (25 mm) diameter.

- Field Samples:  At least one set of 3 molded cube samples shall be taken from each day's pour during the Therma-Floor application.  Cubes shall be tested as recommended by the Maxxon Corporation in accordance with modified ASTM C 472.  Test results shall be available to architect and/or contractor upon request from applicator.

3.05	PROTECTION

- Protection From Heavy Loads:  During construction, place temporary wood planking over Therma-Floor wherever it will be subject to heavy wheeled or concentrated loads.

END OF SECTION