Product Name: Ecophon Master Baffle

Manufacturer: CertainTeed Ceilings

# SECTION 09 51 13 (09510) - ACOUSTIC PANEL CEILINGS

## PART 1 – GENERAL

  - RELATED DOCUMENTS

A. 	Drawings and general provisions of the contract apply to this section. This includes General and Supplementary Conditions of Division 01 (1) Specification Sections.

  - SUMMARY

- Section includes acoustic panels and suspension systems for ceilings

- Related Sections

- Section 09 20 00 (09250) - Gypsum Board, Framing & Accessories

- Division 23 (15) – Heating, Ventilating and Air Conditioning (HVAC)

- Division 26 (16) – Electrical

  - REFERENCES

- ASTM A446 – Specification for Steel Sheet, Zinc-Coated (galvanized) by the Hot Dip Process, Structural (physical) Quality

- ASTM A641 - Specification for Steel Sheet, Zinc-Coated (galvanized) Carbon Steel Wire

- ASTM C423 – Sound Absorption and Sound Absorption Coefficients by the Reverberation Room Method

- ASTM C635 – Standard Specification for Metal Suspension Systems for Acoustic Tile and Lay-in Panel Ceilings

- ASTM C636 – Recommended Practice for Installation of Metal Ceiling Suspension Systems for Acoustical Tile and Lay-in Panel Ceilings

- ASTM E84 – Test Method for Surface Burning Characteristics of Building Materials

- ASTM E119 – Fire Test of Building Construction and Materials

- ASTM E580 – Practice for Application of Ceiling Suspension Systems for Acoustic Tile and Lay-in Panels in Areas Requiring Seismic Restraint

- ASTM E795 – Practice for Mounting Test Specimens During Sound Absorption Tests

- ASTM E1111 – Test Method for Measuring Interzone Attenuation of Ceiling Systems

- ASTM E1264 – Classification for Acoustic Ceiling Products

- ASTM E1414 – Test Method for Airborne Sound Attenuation Between Rooms Sharing a Common Ceiling Plenum

- ASTM E1477 – Standard Test Method for Luminous Reflectance Factor of Acoustical Materials by Use of Integrating Sphere Reflectometer

- DIN 5036 – Radiometric and Photometric Properties of Materials

- ISO 4611 – Plastic – Determination of the Effects of Exposure to Damp, Heat, Water Spray and Salt Mist

- ISO 11654 – Sound Absorbers for Use in Buildings – Rating of Sound Absorption

- ISO 14644 – Classification of Air Cleanliness

- CISCA (Ceilings & Interior Systems Construction Association) – Ceilings Systems Handbook

- CISCA (Ceilings & Interior Systems Construction Association) – Acoustical Ceilings – Use and Practice

- CISCA (Ceilings & Interior Systems Construction Association) – Guidelines For Seismic Restraint Direct Hung Suspended Ceiling Assemblies

- Danish Society of Indoor Climate – Indoor Climate Label

- Nordic Council of Ministers – Nordic Swan Eco-label

- Swedish Asthma & Allergy Association

- Building Information Foundation RTS – Emission Classification of Building Materials

- California Dept. of Health Services Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-scale Environmental Chambers, inc. 2004 addenda

- Sustainable Solutions Corporation – “GreenCircle” Certified Recycled Content

- Canadian Food Inspection Agency – Accepted Construction Product for use in food establishments operating under the authority of the CFIA.

  - SUBMITTALS

- Product Data

- Submit manufacturer’s published technical information for each product indicated

- Shop Drawings

- Submit reflected ceiling plans drawn to scale prescribed by Architect

  - Include coordinated penetrations and ceiling-mounted items

  - Include any necessary details or drawings from the manufacturer regarding recommended installation

- Samples

- Submit manufacturer’s sample of free-hanging element indicated

- Submit representative manufacturer’s sample of each suspension member indicated

- Certifications

# Provide manufacturer’s written certification that products submitted meet or exceed all specified requirements

  - QUALITY ASSURANCE

- Source Limitations

- Acoustic free-hanging element

  - Obtain each type through one source from a single manufacturer

- Suspension System

- Obtain each type through one source from a single manufacturer

- Installer Qualifications

- Must be experienced in the installation of systems similar to those specified herein

- Surface Burning Characteristics

- Class A per ASTM E1264

- Flame spread of 25 or less per ASTM E84

- Smoke developed of 50 or less per ASTM E84

  - DELIVERY, STORAGE AND HANDLING

- Delivery of acoustic free-hanging element products will be in the original unopened packages with the manufacturer’s label intact

- Handling and storage should be in accordance with the manufacturer’s Material Safety Data Sheets (MSDS)

- Individual panels should be handled carefully to avoid damage

  - PROJECT CONDITIONS

- Environmental Limitations

- Install acoustic elements only in conditions that are within the manufacturer’s published limits for temperature and humidity

  - COORDINATION

- Coordinate the installation of the acoustic free-hanging elements with any and all trades whose work is impacted by that installation

  - EXTRA MATERIALS

- Provide extra materials in the manufacturer’s unopened packaging, with the manufacturer’s label intact, as detailed below

- Acoustic free-hanging elements – Minimum 5% of each type installed

- Suspension System Components – Minimum 5% of each type installed

PART 2 - PRODUCTS

2.1 MANUFACTURER

- CertainTeed Ceilings

- Address: P.O. Box 860 Valley Forge, PA 19482

- Telephone: 800-233-8990

- Web: www.certainteed.com/ceilings

## 2.2 ACOUSTIC CEILING UNITS

- Acoustic free-hanging element (ACP) – Type 1

- Name: Ecophon Master Baffle

- Physical Characteristics

  - Rectangular panel with two finished surfaces and fully painted edges

  - Type: XII (per ASTM E1264)

  - Form: 2 (per ASTM E1264)

  - Pattern: G (per ASTM E1264)

  - Size: [200 x 1200 mm, 300x 1200 mm]

  - Thickness:  40 mm

  - Edges: fully painted, square

  - Finished Surface (panel front and back): Akutex FT

  - Finished Surface Color: White 0500

    - Ecophon Color options: [Misty Rose 1010, Pale Garden 1005, Pure Olive 2010, Silent Sand 2005, Silver Shadow 4502, Soft Slate 7000, Vanilla Dream 1505, Volcanic Dust 2002]

  - Core Composition: Glasswool

  - Recycled Content: 71%

    - 1% (pre-consumer)

    - 70%  (post-consumer)

- Performance Criteria

  - Noise Reduction Coefficient (NRC) per ASTM C423

    - 0.95 (E-400 mounting)

  - Light Diffusion per DIN 5036

    - 99%

  - Light Reflectance (LR) per ASTM E1477

    - .85

  - Humidity Resistance per ISO 4611

    - Warranted  to withstand relative humidity of up to 95% at 104ºF without sagging, warping or delaminating for 10-years

  - Clean Room Classification per ISO 14644-1

    - Class 6 (M3.5)

- Independent Certifications and Recommendations

  - Indoor Climate Label – highest class for ceiling panels

  - Recommended by Swedish Asthma and Allergy Association

  - California Dept. of Health Services Standard Practice for the Testing of Volatile Organic Emissions from Various Sources Using Small-scale Environmental Chambers, inc. 2004 addenda

    - Third-party certification of compliance

      - Standard classroom model

2.3 SUSPENSION SYSTEM

- Product

- Name: Ecophon Master Baffle suspension components

- Components

- Connect Baffle Profile

- Connect Profile Connector

- Connect Guiding Pin

- Connect Edge Sealant 0691 (or appropriate Ecophon Color options match)

## PART 3 – EXECUTION

3.1 EXAMINATION

- Ascertain acceptability of substrates and building conditions under which the ceiling system is to be installed. Do not proceed with the installation until any and all unacceptable conditions have been rectified.

3.2 INSTALLATION

- Install the ceiling system in accordance with the following:

- Manufacturer’s printed instructions

  - Available online at www.certainteed.com/ceilings

- ASTM C636

- Ceilings & Interior Systems Construction Association (CISCA) recommendations

- Applicable local code requirements

- Approved shop drawings

3.4 MAINTENANCE

- Replace any and all damaged ceiling system components

- Clean any and all exposed surfaces in accordance with the manufacturer’s printed instructions

# END OF SECTION

CertainTeed Ceilings shall be held harmless for any damages resulting from the use of this specification guide