SECTION 095123 – USG PREMIER NUBBY™ ACOUSTICAL TILE CEILINGS

**USG PREMIER NUBBY™**

* ClimaPlus™ 30 year limited system warranty performance.
* High-quality nubby cloth facing offers consistent, fine-textured appearance.
* Excellent noise reduction with NRC of 0.85 or 0.90 meets the demanding sound-control needs of open-plan spaces.
* Lightweight fiberglass basemat makes installation fast paced and easy.
* **<insert product representative here>** or 800.874.4968 for technical questions

**Note to specifiers:**

This document is not intended to function as a standalone specification. It is intended to assist the specifier in inserting the proper language into the following recommended specification sections:

* 09 51 13 Acoustical Panel Ceilings
* 09 51 23 Acoustical Tile Ceilings

2.3 ACOUSTICAL TILES

* + - * 1. Acoustical Panel Type **<INSERT DESIGNATION HERE>**:

Basis of Design: Subject to compliance with project requirements, the design is based on the following: USG Interiors, LLC, “Premier Nubby”.

Classification: Provide ceiling panels complying with ASTM E 1264 for type, form and pattern as follows:

Type: XII, Glass Fiber base

Form: 2, cloth Faced

Pattern: E light texture

Color: Flat White 050.

LR: Not less than 0.87.

NRC: Not less than **[0.85] [0.90].**

CAC: Not less than **[25] [N/A]**.

Edge/Joint Detail: SQ Square.

Suspension Grid Width: **[DX/DXL] [DXW] [DXT] [9/16 inch (14 mm)] [15/16 inch (24 mm)] [1 ½ inch (38 mm)].**

Panel Thickness: **[3/4 inch (19 mm)**] **[1 inch (25.4 mm)**].

Modular Size: [**24 by 24 inches (610 by 610 mm)**] [**24 by 48 inches (610 by 1220 mm)**] **[As indicated on Drawings] [As indicated in a schedule].**

Recycled Content: **Up to [33%].**

Panel Options: **[Foil-back].**

ClimaPlus™ 30 year limited system warranty performance: Fiberglass substrate is inherently resistant to the growth of mold and mildew. Includes sag resistance performance.

Disclaimer: The USG Product Specifications contained herein are intended for use as product reference material by architects, engineers, other design professionals, contractors, building code officials, or other competent construction industry trade professionals having an interest in the selection, specification and use of products manufactured by the subsidiaries of USG Corporation. The Specifications are intended solely as technical support incident to the sale and use of USG products and not intended to be a substitute for the design review and approval of the licensed design professionals for the project. These materials may be printed and/or transferred electronically solely as needed by the user. Because electronic text files can be modified by other parties, without notice or indication of such modifications, modification of USG Product Guide Specifications and Drawings is the sole responsibility of the Design Professional.