SECTION 095123 – USG TOUCHSTONE™ ACOUSTICAL TILE CEILINGS

USG TOUCHSTONE™

* ClimaPlus™ 30 year warranty performance.
* Non-directional pattern.
* Panels are scuff and abuse resistant and can withstand day to day activity in high traffic areas.
* Firecode® product designed to meet life safety codes
* **<insert product representative here>** or 800.874.4968 for technical questions

**Note to specifiers:**

This document is not intended to function as a standalone specification. It is intended to assist the specifier in inserting the proper language into the following recommended specification sections:

* 09 51 13 Acoustical Panel Ceilings
* 09 51 23 Acoustical Tile Ceilings

2.3 ACOUSTICAL TILES

* + - * 1. Acoustical Panel Type **<INSERT DESIGNATION HERE>**:

Basis of Design: Subject to compliance with project requirements, the design is based on the following: USG Interiors, LLC, “Touchstone”.

Classification: Provide ceiling panels complying with ASTM E 1264 for type, form and pattern as follows:

Type: III, mineral base with painted finish

Form: 2, water felted

Pattern: C, E & I, perforated, small holes, light texture and Embossed.

Color: Flat White 050.

LR: Not less than 0.86.

NRC: Not less than 0.55.

CAC: Not less than 35.

Edge/Joint Detail: **[SLT Beveled Reveal] [FLB Flush reveal] [SQ Square].**

Suspension Grid Width: **[DX/DXL] [DXT/DXLT] [DXlLT] [DXLF] [9/16 inch (14 mm)] [15/16 inch (24 mm)].**

Panel Thickness: **[5/8 inch (15.8 mm)]**

Modular Size: **[24 by 24 inches (610 by 610 mm)] [24 by 48 inches (610 by 1218 mm)] [As indicated on Drawings] [As indicated in a schedule].**

Recycled Content: 49%.

Panel Features:

Firecode®; a Fire rated option, designed to meet life safety codes.

Abuse Resistant.

ClimaPlus™ 30 year warranty performance: Contains a broad spectrum antimicrobial additive on the face and back of the panel that provides resistance against the growth of mold and mildew. Includes sag resistance performance.

Disclaimer: The USG Product Specifications contained herein are intended for use as product reference material by architects, engineers, other design professionals, contractors, building code officials, or other competent construction industry trade professionals having an interest in the selection, specification and use of products manufactured by the subsidiaries of USG Corporation. The Specifications are intended solely as technical support incident to the sale and use of USG products and not intended to be a substitute for the design review and approval of the licensed design professionals for the project. These materials may be printed and/or transferred electronically solely as needed by the user. Because electronic text files can be modified by other parties, without notice or indication of such modifications, modification of USG Product Guide Specifications and Drawings is the sole responsibility of the Design Professional.